EMERGENCY PLAN

Evacuation procedures for emergency conditions for;

Fire                                 Storm                               Earthquake                        Serious injury

Evacuation Plan - Fire

| 1. Building Details: Name of building Street Address | National Equestrian Centre 820 McLeans Island Road McLeans Island, Christchurch |
| --- | --- |
| 2. Times building is occupied | Buildings can be occupied 24hrs a day |
| 3. Warden | The most senior person on site, NEC Committee member or OC representative |
| 4. Assembly Points: The assembly point is The evacuation points are | Hampton Oval adjacent to Glynn East Hall. Main gate and Training ground XC gate |
| 5. Fire Action Notice Locations | Glyn East Hall, Toilet blocks, covered yard blocks |
| 6. Management of Trial Evacuations | Trial evacuations will be held every six months |
| 7. Escape Plan | Checks of means of escape will be undertaken at regular intervals to ensure that; a. They are kept clear of obstacles at all times b. Exit doors are not locked, barred or blocked so as to prevent occupants from leaving the building at any time. c. Smoke control and fire stop doors are to be kept closed and not chocked open. |
| 8. If you discover a fire | - Raise the alarm immediately (if applicable). - Ensure the Fire Service is notified per 111 call. This may be done using a mobile phone and if safe to do so prior to evacuating the building. Clearly state the premises NAME, ADDRESS, and nature of emergency. - Potentially dangerous processes or machinery should be closed down. Leave the lights on. The closing down processes should be carried out if possible to do so safely and with no delay. - Leave immediately by the nearest safe route. Move quickly but do not run. - Report to the designated assembly point. - Stay outside the building until the ‘all clear’ is given. - Only if it safe to do so should firefighting be attempted. |
| 9. Warden duties | - Ensure the fire service has been called. Dial 111 (or delegate). - Assist all occupants in your area to leave the building via the nearest safe exit. - Check toilets. - Ensure critical appliances and systems are turned off if it is safe to do so. - Watch for people with disabilities who may require assistance, or appoint a suitable person to assist as necessary. - Note location of any persons remaining inside the building. - Report to front entrance indicating area is clear or occupied e.g. location of any person firefighting or location of any persons with disabilities. - Advise fire service on their arrival of the evacuation status including the location of any persons with disabilities still in the building. |
| 10. After hours instruction | A notice placed in the common room is to be used when a small number of people are in the building when warden etc may be unavailable. |

Evacuation Plan - Storm

| 1. Property Details: Name of property Street Address | McLeans Island Equestrian Centre 820 McLeans Island Road McLeans Island, Christchurch |
| --- | --- |
| 2. Times property is occupied | Property can be occupied 24hrs a day |
| 3. Occupants on property | Centre manager / Tenant |
| 4. Assembly Point: The assembly point for any emergency at CHCH NEC is | Hampton Oval adjacent to Glynn East Hall. |
| 5. Management of Trial Evacuations | Trial evacuations will be held every twelve months |
| 6. Escape Plan | - In the event of a storm or high winds where the safety of staff or visitors is under threat McLeans Island NEC will close until notified by the manager. |
| 7. Evacuation of persons with disabilities | Appoint a suitable person to assist people with disabilities as necessary. |

Emergency Plan - Earthquake

| 1. Property Details: Name of property Street Address | National Equestrian Centre 820 McLeans Island Road McLeans Island, Christchurch |
| --- | --- |
| 2. Times property is occupied | Property can be occupied 24hrs a day |
| 3. Occupants on property 4. Earthquake Action Notice Locations | Centre manager / Tenant Glyn East Hall, toilet blocks, covered yard blocks |
| 5. Assembly Point: The assembly point for any emergency at CHCH NEC is | Hampton Oval adjacent to Glynn East Hall. |
| 6. In the event of an earthquake | - Raise the alarm immediately (if applicable). - Everyone to take cover or go to a safe place until shaking stops (as per your Action Notice). Once shaking has stopped check all areas to ensure everyone is safe and consider evacuation, depending on strength and location of earthquake – take advice from Civil Defence. |

Medical Emergency Plan

| 1. Property Details: Name of property Street Address | National Equestrian Centre 820 McLeans Island Road McLeans Island, Christchurch |
| --- | --- |
| 2. Times property is occupied | Property can be occupied 24hrs a day |
| 3. Occupants on property | Centre manager / Tenant |
| 4. Assembly Point: The assembly point for any emergency at CHCH NEC is | Hampton Oval adjacent to Glynn East Hall. |
| 5. In the event of a medical emergency | - Raise the alarm immediately. - Ensure the Ambulance Service is notified per 111 call. This may be done using a mobile phone, if safe to do so prior to evacuating the building. Clearly state your Name, Address, and nature of the emergency. - Don’t move patient |